## Sheet1
Label | Register Type | Address | Unit
VC_P1_MOV_OPN_CLS_STATUS | MB_PARAM_COIL | 320 | b
VC_P2_MOV_OPN_CLS_STATUS | MB_PARAM_COIL | 321 | b
M_P11_MOV_OPN_CLS_STATUS | MB_PARAM_COIL | 322 | b
M_P12_MOV_OPN_CLS_STATUS | MB_PARAM_COIL | 323 | b
M_P12A_MOV_OPN_CLS_STATUS | MB_PARAM_COIL | 324 | b
VC_P1_ON_OFF_STATUS | MB_PARAM_COIL | 325 | b
VC_P1_TRIP_STATUS | MB_PARAM_COIL | 326 | b
VC_P2_ON_OFF_STATUS | MB_PARAM_COIL | 327 | b
VC_P2_TRIP_STATUS | MB_PARAM_COIL | 328 | b
VC_PANEL_PWR_ON | MB_PARAM_COIL | 329 | b
M_P11_ON_OFF_STATUS | MB_PARAM_COIL | 330 | b
M_P11_TRIP_STATUS | MB_PARAM_COIL | 331 | b
M_P11_PANEL_A_M_STATUS | MB_PARAM_COIL | 332 | b
M_P12_ON_OFF_STATUS | MB_PARAM_COIL | 333 | b
M_P12_TRIP_STATUS | MB_PARAM_COIL | 334 | b
M_P12_PANEL_A_M_STATUS | MB_PARAM_COIL | 335 | b
M_P12A_ON_OFF_STATUS | MB_PARAM_COIL | 336 | b
M_P12A_TRIP_STATUS | MB_PARAM_COIL | 337 | b
M_P12A_PANEL_A_M_STATUS | MB_PARAM_COIL | 338 | b
VC_PUMP_A_M | MB_PARAM_COIL | 339 | b
VC_P1_START | MB_PARAM_COIL | 340 | b
VC_P1_STOP | MB_PARAM_COIL | 341 | b
VC_P2_START | MB_PARAM_COIL | 342 | b
VC_P2_STOP | MB_PARAM_COIL | 343 | b
VC_P1_VLV_A_M_HMI | MB_PARAM_COIL | 344 | b
VC_P1_VLV_OPN_CMD_HMI | MB_PARAM_COIL | 345 | b
VC_P1_VLV_CLS_CMD_HMI | MB_PARAM_COIL | 346 | b
VC_P2_VLV_A_M_HMI | MB_PARAM_COIL | 347 | b
VC_P2_VLV_OPN_CMD_HMI | MB_PARAM_COIL | 348 | b
VC_P2_VLV_CLS_CMD_HMI | MB_PARAM_COIL | 349 | b
VC_SEQ_1 | MB_PARAM_COIL | 359 | b
VC_SEQ_2 | MB_PARAM_COIL | 360 | b
P11_SEQ_1 | MB_PARAM_COIL | 361 | b
P12_SEQ_2 | MB_PARAM_COIL | 362 | b
P12A_SEQ_3 | MB_PARAM_COIL | 363 | b
P11_P12 | MB_PARAM_COIL | 364 | b
P11_P12A | MB_PARAM_COIL | 365 | b
P12_P12A | MB_PARAM_COIL | 366 | b
P11_P12_P12A | MB_PARAM_COIL | 367 | b
START_VP1_HMI | MB_PARAM_COIL | 368 | b
STOP_VP1_HMI | MB_PARAM_COIL | 369 | b
START_VP2_HMI | MB_PARAM_COIL | 370 | b
STOP_VP2_HMI | MB_PARAM_COIL | 371 | b
HIGH_PRESSURE | MB_PARAM_COIL | 372 | b
UG_TNK_LOW_LVL | MB_PARAM_COIL | 373 | b
VP_ON_CMD | MB_PARAM_COIL | 374 | b
TIME_PER_MIN | MB_PARAM_COIL | 375 | b
SUFFICIENT_LEVEL | MB_PARAM_COIL | 376 | b
MAIN_PUMP_ON | MB_PARAM_COIL | 377 | b
MAIN_PANEL_OFF | MB_PARAM_COIL | 378 | b
VP_OFF_CMD | MB_PARAM_COIL | 379 | b
LOW_PRESSURE | MB_PARAM_COIL | 380 | b
VP_RESET | MB_PARAM_COIL | 381 | b
PRIMING_TANK_VLV_STATUS | MB_PARAM_COIL | 382 | b
TANK_62_COM | MB_PARAM_COIL | 383 | b
COM_STATUS_62 | MB_PARAM_COIL | 384 | b
COM_STATUS_84 | MB_PARAM_COIL | 385 | b
COM_STATUS_85 | MB_PARAM_COIL | 386 | b
COM_STATUS_66A | MB_PARAM_COIL | 387 | b
COM_STATUS_SUN_SET | MB_PARAM_COIL | 388 | b
COM_STATUS_EM_P11_STATUS | MB_PARAM_COIL | 389 | b
COM_STATUS_EM_P12_STATUS | MB_PARAM_COIL | 390 | b
COM_STATUS_EM_P12A_STATUS | MB_PARAM_COIL | 391 | b
LOAD_62_IN_E_D | MB_PARAM_COIL | 520 | b
LOAD_62_IN_A_M | MB_PARAM_COIL | 521 | b
LOAD_62_OUT_E_D | MB_PARAM_COIL | 522 | b
LOAD_62_OUT_A_M | MB_PARAM_COIL | 523 | b
DELV_62_IN_E_D | MB_PARAM_COIL | 524 | b
DELV_62_IN_A_M | MB_PARAM_COIL | 525 | b
DELV_62_OUT_E_D | MB_PARAM_COIL | 526 | b
DELV_62_OUT_A_M | MB_PARAM_COIL | 527 | b
PWR_OFF_62_TANK | MB_PARAM_COIL | 528 | b
LOAD_62_IN_VLV_STATUS | MB_PARAM_COIL | 529 | b
DELV_62_IN_VLV_STATUS | MB_PARAM_COIL | 530 | b
LOAD_62_OUT_STATUS | MB_PARAM_COIL | 531 | b
DELV_62_OUT_STATUS | MB_PARAM_COIL | 532 | b
Tank_No_62_Set | MB_PARAM_COIL | 533 | b
Spare_62_tank_1 | MB_PARAM_COIL | 534 | b
Spare_62_tank_2 | MB_PARAM_COIL | 535 | b
LOAD_84_IN_E_D | MB_PARAM_COIL | 536 | b
LOAD_84_IN_A_M | MB_PARAM_COIL | 537 | b
LOAD_84_OUT_E_D | MB_PARAM_COIL | 538 | b
LOAD_84_OUT_A_M | MB_PARAM_COIL | 539 | b
DELV_84_IN_E_D | MB_PARAM_COIL | 540 | b
DELV_84_IN_A_M | MB_PARAM_COIL | 541 | b
DELV_84_OUT_E_D | MB_PARAM_COIL | 542 | b
DELV_84_OUT_A_M | MB_PARAM_COIL | 543 | b
PWR_OFF_84_TANK | MB_PARAM_COIL | 544 | b
LOAD_84_IN_VLV_STATUS | MB_PARAM_COIL | 545 | b
DELV_84_IN_VLV_STATUS | MB_PARAM_COIL | 546 | b
LOAD_84_OUT_VLV_STATUS | MB_PARAM_COIL | 547 | b
DELV_84_OUT_VLV_STATUS | MB_PARAM_COIL | 548 | b
TANK_NO_84_OPRATION | MB_PARAM_COIL | 549 | b
Tank_84_Spare_1 | MB_PARAM_COIL | 550 | b
Tank_84_Spare_2 | MB_PARAM_COIL | 551 | b
LOAD_85_IN_E_D | MB_PARAM_COIL | 552 | b
LOAD_85_IN_A_M | MB_PARAM_COIL | 553 | b
LOAD_85_OUT_E_D | MB_PARAM_COIL | 554 | b
LOAD_85_OUT_A_M | MB_PARAM_COIL | 555 | b
DELV_85_IN_E_D | MB_PARAM_COIL | 556 | b
DELV_85_IN_A_M | MB_PARAM_COIL | 557 | b
DELV_85_OUT_E_D | MB_PARAM_COIL | 558 | b
DELV_85_OUT_A_M | MB_PARAM_COIL | 559 | b
PWR_OFF_85_TANK | MB_PARAM_COIL | 560 | b
LOAD_85_IN_VLV_STATUS | MB_PARAM_COIL | 561 | b
DELV_85_IN_VLV_STATUS | MB_PARAM_COIL | 562 | b
LOAD_85_OUT_VLV_STATUS | MB_PARAM_COIL | 563 | b
DELV_85_OUT_VLV_STATUS | MB_PARAM_COIL | 564 | b
TANK_NO_85_OPRATION | MB_PARAM_COIL | 565 | b
Tank_85_Spare_1 | MB_PARAM_COIL | 566 | b
Tank_85_Spare_2 | MB_PARAM_COIL | 567 | b
LOAD_66A_IN_E_D | MB_PARAM_COIL | 568 | b
LOAD_66A_IN_A_M | MB_PARAM_COIL | 569 | b
DELV_66A_IN_E_D | MB_PARAM_COIL | 570 | b
DELV_66A_IN_A_M | MB_PARAM_COIL | 571 | b
PWR_OFF_66A_TANK | MB_PARAM_COIL | 572 | b
LOAD_66A_IN_VLV_STATUS | MB_PARAM_COIL | 573 | b
DELV_66A_IN_VLV_STATUS | MB_PARAM_COIL | 574 | b
TANK_NO_66A_OPRATION | MB_PARAM_COIL | 575 | b
LOAD_SUN_SET_IN_E_D | MB_PARAM_COIL | 576 | b
LOAD_SUN_SET_IN_A_M | MB_PARAM_COIL | 577 | b
LOAD_SUN_SET_OUT_E_D | MB_PARAM_COIL | 578 | b
LOAD_SUN_SET_OUT_A_M | MB_PARAM_COIL | 579 | b
DELV_SUN_SET_IN_E_D | MB_PARAM_COIL | 580 | b
DELV_SUN_SET_IN_A_M | MB_PARAM_COIL | 581 | b
DELV_SUN_SET_OUT_E_D | MB_PARAM_COIL | 582 | b
DELV_SUN_SET_OUT_A_M | MB_PARAM_COIL | 583 | b
PWR_OFF_SUN_SET_TANK | MB_PARAM_COIL | 584 | b
LOAD_SUN_SET_IN_VLV_STATUS | MB_PARAM_COIL | 585 | b
DELV_SUN_SET_IN_VLV_STATUS | MB_PARAM_COIL | 586 | b
LOAD_SUN_SET_OUT_VLV_STATUS | MB_PARAM_COIL | 587 | b
DELV_SUN_SET_OUT_VLV_STATUS | MB_PARAM_COIL | 588 | b
TANK_NO_SUN_SET_OPRATION | MB_PARAM_COIL | 589 | b
TANK_SUN_SET_SPARE_1 | MB_PARAM_COIL | 590 | b
TANK_SUN_SET_SPARE_2 | MB_PARAM_COIL | 591 | b
VC_P1_EN_DIS | MB_PARAM_HOLDING | 100 | BOOL
VC_P2_EN_DIS | MB_PARAM_HOLDING | 101 | BOOL
P11_EN_DIS | MB_PARAM_HOLDING | 102 | BOOL
P12_EN_DIS | MB_PARAM_HOLDING | 103 | BOOL
P12A_EN_DIS | MB_PARAM_HOLDING | 104 | BOOL
TIME_1 | MB_PARAM_HOLDING | 105 | BOOL
TIME_2 | MB_PARAM_HOLDING | 106 | BOOL
TIME_3 | MB_PARAM_HOLDING | 107 | BOOL
SIMJURI_AREA | MB_PARAM_HOLDING | 108 | BOOL
UG_TNK_LEVEL | MB_PARAM_HOLDING | 125 | INT
LOW_SET_POINT | MB_PARAM_HOLDING | 126 | INT
LVL_DELAY_COIL | MB_PARAM_HOLDING | 127 | INT
TIM_TNK_UG_LOW | MB_PARAM_HOLDING | 128 | INT
SEQ_RESET_VP_1 | MB_PARAM_HOLDING | 129 | INT
RESSURE_HIGH_SET_POINT | MB_PARAM_HOLDING | 130 | REAL
SEQ_RESET_VP_2 | MB_PARAM_HOLDING | 132 | INT
VP_TIME_SET | MB_PARAM_HOLDING | 136 | INT
CV_VP_TIME_SET | MB_PARAM_HOLDING | 137 | INT
CV_TIME_PER_MIN | MB_PARAM_HOLDING | 138 | INT
TNK_LVL_SUFFICIENT | MB_PARAM_HOLDING | 139 | INT
VACCUME_PUMP_SET_TIME | MB_PARAM_HOLDING | 140 | INT
PRESSURE_TIME | MB_PARAM_HOLDING | 141 | INT
CV_PRESSURE_TIME | MB_PARAM_HOLDING | 142 | INT
PRESSURE_LOW_SET | MB_PARAM_HOLDING | 123 | REAL
UG_TANK_LVL_DINT | MB_PARAM_HOLDING | 150 | DINT
UG_TANK_LVL_REAL | MB_PARAM_HOLDING | 152 | REAL
LINE_PRESSURE_DINT | MB_PARAM_HOLDING | 156 | DINT
LINE_PRESSURE_REAL | MB_PARAM_HOLDING | 158 | REAL
TANK_62_INNER_LEVEL | MB_PARAM_HOLDING | 160 | INT
TANK_62_OUTTER_LEVEL | MB_PARAM_HOLDING | 161 | INT
TANK_84_INNER_LEVEL | MB_PARAM_HOLDING | 162 | INT
TANK_84_OUTTER_LEVEL | MB_PARAM_HOLDING | 163 | INT
TANK_85_INNER_LEVEL | MB_PARAM_HOLDING | 164 | INT
TANK_85_OUTTER_LEVEL | MB_PARAM_HOLDING | 165 | INT
TANK_66A_INNER_LEVEL | MB_PARAM_HOLDING | 166 | INT
TANK_SUNSET_INNER_LEVEL | MB_PARAM_HOLDING | 167 | INT
TANK_SUNSET_OUTTER_LEVEL | MB_PARAM_HOLDING | 168 | INT
PRIMING_TANK | MB_PARAM_HOLDING | 169 | INT